## Slide 1: QUALITY ASSURANCE IN BIO MEDICAL WASTE(BMW) MANAGEMENT AT RANJAN HOSPITAL VAISHALI Mentor Col Satyaroop Dr A K Khokhar PG/16/054

## Slide 2: PREVIEW
Introduction
Profile Ranjan Hospital
BMW Management & Handling Rules 1998
BMW Management & Handling Rules 2016
Review of Literature
Research Question, Research Objective & Methodology of Study
Findings by Observation
Findings by Questionnaire
Recommendations

## Slide 3: INTRODUCTION
Ancient times Maharshi Ved Vyas
Prevention of epidemics, clean water & proper treatment of sewage
John Harrington (1561-1612) facilitated flushing away human waste
Roman times, clean water supply and sanitation system
Harappa excavation indicated proper cleanliness, hygiene and sanitation

## Slide 4: PROFILE OF RANJAN HOSPITAL, VAISHALI
15 bedded hospital established in 2010
Secondary health centre

## Slide 5: VISION, MISSION & CORE VALUES
Vision
Functional and affordable healthcare system with care and compassion
‘Feel at Home’ gesture
Personal care by the doctors
Long-lasting relationship with the patients

## Slide 6
Mission
Deliver best patient care services
Excel in medical care
Be preferred choice among other hospitals around
Apply and share new technology

## Slide 7
Core Values
Customer Care, Dedication and Integrity
Faith on associates
Teamwork
Mutual trust
Honest and ethical practices

## Slide 8: SPECIALITIES
Gynaecology
Ophthalmology
Physician, Surgeon and Paediatrician are available on call
Laboratory facility, X-ray, CT scan and USG outsourced to Kumar Diagnostics, New Delhi
Fully functional OT exist
Reception, OPD, consultation rooms, Emergency room

## Slide 9: SWACHH BHARAT ABHIYAN
Introduced by PM of India on 02 October, 2014
To promote hygiene and cleanliness in public domain
Ministry of Health and Family Welfare, Govt of India, has launched initiative “Kayakalp” on 15 May, 2015

## Slide 10: OBJECTIVES OF KAYAKALP
Health Care Facilities(HCF) cater for promotion of cleanliness, hygiene and Infection Control Practices in public
Standard protocols of cleanliness and infection control to be maintained and adhered by public HCF
A culture to be inculcated and continuous assessment of performance to be carried out for cleanliness, hygiene and sanitation
Public HCF to adhere to sustainable practices related to improvement in cleanliness

## Slide 11: PARAMETERS IN KAYAKALP CHECKLIST
Upkeep of Hospital/Facility
Adherence of sanitation and hygiene
Proper waste Management
Correct infection control
Good Support Services
Promotion of hygiene

## Slide 12: BIO MEDICAL WASTE
BMW is defined as any solid or liquid waste which may present a threat of infection to humans. It includes various wastes from human bodies containing disease causing agents and discarded sharps

## Slide 13: BMW Management and Handling Rules, 1998
To improve collection, segregation, processing, treatment and disposal of BMW and to ensure reduction of BMW generation
All persons who generate, collect, receive, store, transport, treat, dispose, or handle BMW in any form
Not Included in Act
  Radio active waste covered under Atomic Energy Act 1962
  Solid wastes covered under the Municipal Solid Waste (Management and Handling) Rules, 2000
  Lead acid batteries covered under the Batteries (Management and Handling) Rules, 2001
  Hazardous wastes covered under the Hazardous Wastes (Management, Handling and Transboundary Movement) Rules, 2008
  Waste covered under e-Waste (Management and Handling) Rules, 2011

## Slide 14: BMW Management and Handling Rules, 2016
All types of healthcare camps covered
Phasing out of chlorinated plastic bags, gloves and blood bags within two years
On-site disinfection or sterilization of waste of laboratory and microbilogical carried out as per WHO or NACO guidelines
Regular training to be imparted & their immunization
A Bar-Code System to be established for bags for disposal
Report major accidents
Proper retention time in secondary chamber of incinerators to be achieved in two years
From 10 categories, reduced to 4 categories for improvement in the segregation of waste at source

## Slide 15: BMW Management and Handling Rules, 2016
Authorisation Procedure simplified. Automatic authorization for bedded hospitals. For Non-bedded HCFs only one-time authorisation
Reduction in emission of pollutants stringent standards for incinerator
Dioxin and furans emissions limits is included
State Govt to provide land for setting up a common BMW treatment and disposal facility
Within 75 km if common BMW treatment facility is available, no requirement by the occupier to establish on-site treatment and disposal facility
Timely collection of BMW and disposal facility should be provided by the occupier. Training to be carried out
Hepatitis B and Tetanus immunization to be carried out for all the staff handling of BMW

## Slide 16: COLOUR CODES

## Slide 17: 1998 vs 2016 Rules

## Slide 18: REVIEW OF LITERATURE

## Slide 19: REVIEW OF LITERATURE
A case study to review compliance to BMW management rules in a tertiary care hospital by Dipika Shrestha*, Seema Bansode Gokhe, Anurag Dhoundiyal, Prashant Bothe published in International Journal of Community Medicine and Public Health | February 2017|Vol 4 | Issue 2
Observational study in 1800 bedded Tertiary care hospital in Mumbai
Of 64 wards, 42.18% disinfected the biomedical waste bins daily
Mixing of contents in the red bag, yellow bag and black bag was found to be 20.31%, 12.5% and 10.93% respectively
None of the wards observed cutting of gloves and saline bottles prior to disposal
Compliant with most rules

## Slide 20: REVIEW OF LITERATURE
Biomedical waste management in India: Critical appraisal by Priya Datta, Gursimran Kaur Mohi, Jagdish Chander published in Journal of Laboratory Physicians - Volume 10, Issue 1, January-March 2018
Lack of funds would be challenges for Govt hospitals and small HCFs
Timing of 2 years to phase out chlorinated plastic bags, gloves, blood bags & for bar code system for bags/containers is less
In India, 198 Common Bio Medical Waste Treatment Facility(CBMWTF) are existing and 28 under construction
Requirement of many more CBMWTF

## Slide 21: REVIEW OF LITERATURE
Management of BMW Waste in Himachal Pradesh: A Case Study of Indira Gandhi Medical College and Hospital, Shimla, HP, India by Ravinder ST published in. Environ Sci Ind J. 2017;13(4):146
Procedure was in place as per Rules 2016
Awareness of the staff can be enhanced
Outstation staff changed regularly some mistakes noticed while collection, segregation and packing of wastes
Wrong colour coded bins were used and non-infectious waste was mixed with infectious waste
Requirement of more allocation of resources for BMW management procedures

## Slide 22: REVIEW OF LITERATURE
Assessment of knowledge and practice of BMW management among health care personnel in a rural tertiary care hospital of Darjeeling District, West Bengal, India by Rishav Bakshi, Nilanjana Ghosh, Risheen Mukherjee, Sumanta Chakraborty published in Journal of Comprehensive Health, Volume 6, Issue 1, January 2018
Huge gaps found in the knowledge of the colour coding of bags & their skill in appropriate waste disposal
Waste segregation at source lacking
Lack of designated people for BMW management at workplace
Workshops and trainings need to be organised on a regular basis

## Slide 23: REVIEW OF LITERATURE
BMW Management In Different Hospitals of Guwahati And Its Effect On Environment by Arabinda Changmai*, Tofiqul Islam, Dibarlan Nongsiang, Manoj Kumar Deka, Bhargab Jyoti Saharia, Ananta Choudhury, Biplab Kumar Dey A published in Journal of Applied Pharmaceutical Research Volume 6, Issue 1, Year of Publication 2018
Autoclave done by only 46% of hospitals
Medical wastes are incinerated, emitting toxic air pollutants & ash residues
Improper segregation of waste at time of generation
Compliance of BMW Rules to be done

## Slide 24: REVIEW OF LITERATURE
An analytical study on medical waste management in selected hospitals located in Chennai city by Sutha Irin A, published in Environ Waste Management and Recycling 2018 Volume 1 Issue 1
HCF in private & Govt hospitals still struggle with unsuitable BMW management
Training on waste management was not adequate
Various improvements on BMW handling and treatment was suggested

## Slide 25: RESEARCH QUESTION
What are the existing practices of BMW management in Ranjan Hospital, Vaishali?
What is the level of compliance of BMW management rules 2016 in Ranjan Hospital?
What should be the measures for the improvement of BMW management in Ranjan Hospital?

## Slide 26: RESEARCH OBJECTIVE
General Objective
To assess the implementation status of BMW management rules 2016 in Ranjan Hospital
Specific Objectives
To ascertain the existing practices of BMW management in Ranjan Hospital
To find the extent to which this BMW management is in compliance with BMW Management and Handling Rules 2016
To suggest measures for the improvement of BMW management in Ranjan Hospital

## Slide 27: METHODOLOGY OF STUDY
Observational analysis
By Questionnaire method
Total 26 questions asked

## Slide 28: FINDINGS BY OBSERVATION
BMW procedures were in place as per BMW (Management & Handling) Rules, 2016
A doctor in charge who monitors the BMW management
A record is maintained of the waste generated in the wards
Autoclaves facility is existing in the hospital
Bar Coding of bags have not been carried out in the hospital
Segregation of waste is done as per BMW Rule 2016
Work charts for segregation and handling of BMW is existing in the hospital
Transportation of waste done in closed trolley

## Slide 29: FINDINGS BY OBSERVATION
Sharp Management done correctly
Waste is discarded next day in the morning
All staff were aware of needle stick injuries and precautions
Post-exposure prophylaxis kits were available & used
Dedicated storage facility was available for BMW
Storage facility is secured against pilferage and reach of animals & is locked

## Slide 30: FINDINGS BY OBSERVATION
An annual report is submitted to Pollution Control board
Proper briefing of staff and correct placement of various colour bags made segregation of waste efficiently
Wastes are transported in covered trolleys in the evening and kept in the waste store room
Disposal of waste is outsourced to Synergy Waste Management Private Limited, which collects in the morning next day
Authorisation from UP Pollution Control Board, Ghaziabad exists

## Slide 31: FINDINGS BY QUESTIONNAIRE
Existence of rules for BMW Management? The answers indicated that the staff were aware about the Rules
Colour coding? All the staff were aware about the various colour coding as per Rules 2016
Disposal of Anatomical waste into which colour bag? Yellow was correctly given by the staff
Sharps disposal has to be in which colour bag? All the staff were aware that it is kept in White(Translucent) bags
What is meant by Incinerator? 82% of staff were aware about it
Is it necessary to have Biohazard symbol on BMW bag? 80% of staff were aware about it

## Slide 32: FINDINGS BY QUESTIONNAIRE
Necessity of BMW management rules? Yes by all the staff
Do you feel that BMW management is compulsorily needed for healthcare delivery? Yes was the answer by all the staff
Do you follow colour coding for waste disposal? Yes, it was being followed and they were in the correct knowledge of it
Do you think your knowledge regarding BMW management is adequate? Yes was the answer, however the housekeeping staff and newly inducted nurses need further training
Do you think any further training is required on BMW management? Regular tri-monthly update/training is required to make them 100% perfect in it
Do you suggest segregation of waste?
Yes answer given by the staff as it can be disposed off correctly

## Slide 33: FINDINGS BY QUESTIONNAIRE
Soiled linen should keep in which colour bag? The answer given was correct as Yellow Bags
Are you using PPE while handling linen? Yes, answer was given by all staff once they were handling soiled linen
Are you practicing hand hygiene in between every activity? 78% of staff answered yes, however 22% of newly inducted staff said no as they had cleaned the hand some time ago
Are you using sharps destructor/sharp destroyer? Yes was the answer as it was being used
Non-infectious waste should put in which colour code? The answer given was in Black colour bags
Are you practicing the segregation of infectious waste and Non-infectious waste? Yes answer by the staff as it was being done

## Slide 34: FINDINGS BY OBSERVATION & QUESTIONNAIRE
Multiple choice answers indicated that 84% of the staff gave correct answers
Overall the Quality Assurance in BMW Management at Ranjan Hospital was found to be correct and was effectively implemented
Procedures of BMW management were followed correctly by the staff
Proper guidance were given to the patients also
Certain measures need to be implemented

## Slide 35: RECOMMENDATIONS
Bar coding of Waste bags need to be carried out
Every three months, a one day capsule of BMW Management Rules 2016 be carried out as refreshment training
Training of staff to be carried out from accredited training centres
The training should be done according to new rules and regulations
Staff to be kept under direct supervision and surveillance while handling infectious wastes
An inspecting body should be in hospital to check the violation of BMW rules
Informative session about newer way of scientific, safe and cost effective management of the waste to be done

## Slide 36: RECOMMENDATIONS
Annual health check up of all the staff should be carried out.
Requires willingness, devotion, self- motivation, cooperation and participation by all the staff of the hospital.

## Slide 37: THANK YOU