## Slide 1: ORGANIZATION AND PLANNING OF DIETARY SERVICES AT AL ABEER EDUCITY
SUBMITTED BY:
PREETHU PRASANNAKUMAR
PG/14/049

## Slide 2
Overview of the Hospital:
Al Abeer Educity is an upcoming multispecialty cum teaching hospital.
With 750 beds, 113 critical care beds & 13 OTs
Plan for soft launch by August,2016
Soft launch: 300 beds, 30 critical care beds & 5 OTs
  Services: General Medicine, General surgery, Orthopedics, Gynecology etc.
  Support Services: Pharmacy, Laboratory, Blood Bank, CCU, Radiology, CSSD, etc.
  Other Services: Kitchen, Laundry and Housekeeping

## Slide 3
Learning:
Basic understanding of architecture of hospital building.
How to interact with vendors.
SOP for Fleet Booking Management.
Planning of Hospital Dietary services using various guidelines.
Asset review of Diagnostic Centre.

## Slide 4
Challenges:
Lack of decision making
Lack of Co-ordination
Lack of fund
Unwillingness of authorities
Fragmentation

## Slide 5
Introduction
The foodservice facilities are a great way to satisfy hospital staff as well as patients and their visitors.
Good food is an important aspect in the treatment of patient and is a part of total care, adequate nutrition during hospitalization enables the patient to recover early.

## Slide 6
Objective:
General Objective:
To organise and plan the dietary services at Al Abeer Educity.
Specific Objective:
To select Consultant for the Planning of Dietary Service Department.
To plan the Infrastructure and Equipments of Dietary Service Department.
To determine the Manpower requirement of Dietary Service Department.
To plan process flow of work in the Dietary Service Department.

## Slide 7
Methodology:
Descriptive Study
Time period: 64 days
Study Area: Al Abeer Educity
Data Collection Tool: Check- list, according to various Guiding documents i.e., guidelines, norms & standards
Guiding documents are referred and planning is done accordingly.
Guiding documents include MCI standards, NABH standards, JCI Standards HAAD guidelines, Indian Health Facility Guidelines.

## Slide 8
Study findings:
Selection of Consultant
DESCRIPTION | KECO | KOSHY
Projects Completed | Hospital projects-7 Other Projects-1 | Hospital projects-1 Other Projects-8
Ongoing Projects | Hospital projects-1 Other Projects-1 | Hospital projects-1 Other Projects-5
Future Projects | Hospital projects-1 Other Projects-0 | Hospital projects-0 Other Projects-0
Cost for Al Abeer’s Kitchen Project | 12,50,000 | 6,60,000

## Slide 9
  2) Workload Calculation
 | Maximum | Calculated for 1 meal
No of Patents in Hospital block | 750 | 638
No of Patents in Super- speciality block | 800 | 680
No. Of bystanders in Hospital block | 750 | 638
No. Of bystanders in Super- speciality block | 800 | 680
No. Of Staffs in hospital block | 3000 | 1000
No. Of staffs in Super- speciality block | 3200 | 1067
Number of Medical Students | 600 | 600
Number of Nursing students | 240 | 240
Number of staffs in Medical college | 500 | 167
Number of staffs in Nursing college | 25 | 8
Number of OPD Patients | 2000 | 600
Total | 12665 | 6318

## Slide 10
Infrastructure Planning
  Area wise planning for:
  a) MEP, Fire, HVAC requirements
  b) Furniture & Fixture requirements
  c) Flooring, Ceiling, Cornice, Wall finish etc. specifications

## Slide 11
Administrative Area
Bulk Cooking Area
Dish Wash Area
Pot Storage
Trolley Wash Area
Dry Ration storage
Chiller Room
Garbage collection area
Trolley Bay
Food Set- up Area
Prepared food Storage
Freezer Room
Various Physical areas required for central component are:

## Slide 12
Other Areas in the Bulk Kitchen
Electric Control Room
Gas Bank
HVAC Room
Disability Toilet
Security and Staff check Area
Peripheral components
Pantries
Kitchenettes
Coffee shops.

## Slide 13
    I) General
Sr. No | Infrastructure | Description
1 | Flooring | Non- slip surface with no crevices and easily cleaned.
2 | Door | All doors shall have clear glazing to the top half
3 | Lighting | Use of natural light to the maximum
4 | MEP- Electrical | All equipment should have emergency shut off switches to prevent overheating
5 | Plumbing | Basins with hands free operations with soap dispensers
6 | HVAC | Air lock between kitchen and external areas, shall be fitted with a fly screen door with a self closer
7 | Furniture Requirements | All equipments shall comply with commercial standards for equipments.

## Slide 14
2) Food Preparation Area
Sr. No | Infrastructure | Description
1 | Space Required | The space planned for the central kitchen is 8,000-1200 ft (UK Modil-8-10 sq ft/bed)
2 | General Considerations | Layout: Soiled Patient and non- patient trays shall not pass through food preparation areas/ areas with open food(FGI) Hand washing area: Shall be provided within 20 feet( 6.10 metres) of each food preparation or serving area.(FGI) Area will include benches, sinks, shelving and mobile trolleys for utensil. Ready access to boiling water and ice dispensing machines
3 | MEP- Electrical | Special power may be required according to manufacturer’s specifications, safety considerations may include power cut- off to items of equipment
4 | Plumbing | Sinks: two- compartment food preparation sink with a drain- board on each side of the double sink, The drain- boards shall be the same length as the sink compartment and fabricated to NSF standards(FGI)

## Slide 15
Sr. No | Infrastructure | Description
1 | General Considerations | Space shall be provided for the delivery and transport equipment used, such as receiving carts/ jacks, transport carts, and returnables.
2 | Location | A receiving area shall be provided at the receiving entrance to the department for breakdown of boxes and vendor storage
3 | Door | minimum clear width of 4 feet(1.22 meters) and a minimum clear height of 7 feet( 2.14 meters)
3) Receiving Area

## Slide 16
Sr. No | Infrastructure | Description
1 | General Considerations | Dry storage and refrigerator/ freezer space All food shall be stored clear of the floor Aisles with a minimum width of 36 inches shall be provided between storage units
2 | Furniture Requirements | Require alarms when temperature is not reached or exceeded. Alarms should be automatically recorded Commercial grade refrigeration shall be provided to hold chilled and frozen food at temperatures in accordance with local, state and federal requirements( HACCP/ FDA Food Code)
3 | HVAC | Room temperature should be maintained below 72 degree F (22degree C) and 55% relative humidity to minimize food spoilage.
4) Food and Supply Storage

## Slide 17
Sr. No | Infrastructure | Description
1 | General Considerations | Space shall be provided for patient food assembly in a non-public, protected environment
2 |  | Space shall be provided for the following functions(FGI): storing carts when not in use Loading carts for distribution distributing meals Receiving soiled carts Sanitizing carts: A designated area shall be identified when a grated or sloped floor with floor drain and source of water and sanitizing agents.
Assembly and Distribution facilities

## Slide 18
Sr. No | Infrastructure | Description
1 | Flooring | Floor drain should be provided where carts can air- dry Impervious and non- slip
2 | Ceiling | Smooth, Impervious and easily cleanable
3 | Wall finish | Smooth, Impervious and easily cleanable
4 | Plumbing | Soak sinks to pre- soak dinnerware and utensils., stainless steel sinks Use of hot water sanitizing dish machine is recommended rather than a low temperature chemical washing unit A single three- compartment sink with integral sloped drain boards on both clean and soiled sides shall be provided
5 | Miscellaneous | Acoustic treatment to reduce noise
Ware- washing Facilities

## Slide 19
Sr. No | Infrastructure | Description
 | General Considerations | Food shields( sneeze guards) shall be provided into protect non- covered and unpackaged foods.(FGI) Hot/ cold food holding and displaying equipment shall maintain internal temperature controls
 | Plumbing | Hand washing station(FGI)
Retailed Food Service areas (Cafeterias/ Cafes)

## Slide 20
Sr. No | Infrastructure | Description
1 | General Considerations | Minimum Aisle spacing and chair clearance of 3 feet( 91.5 cm)(FGI)
2 | Wall finish | Will require acoustic treatment, particularly to walls adjoining other departments
3 | Miscellaneous | Acoustic privacy required
4 | Space Required | Minimum area: .m2 per person or 9.5 m2 whichever is greater
Dining Area

## Slide 21
Sr. No | Infrastructure | Description
1 | General Considerations | The Staff Amenities shall not open directly to food preparation areas Toilet Rooms: Next to or directly accessible to the food and nutrition service department(FGI) shall not be permitted to open directly into food preparation or food storage areas(FGI) Storage for Staff: Lockers shall be provided for food and nutrition services staff(FGI)
Support Area

## Slide 22
Sr. No | Infrastructure | Description
1 | General Considerations | Located with ready access to preparation and cooking areas and may be co- located with dishwashing areas
2 | Flooring | impervious and non- slip
3 | Ceiling | smooth, impervious and easily cleanable
4 | Wall finish | smooth, impervious and easily cleanable
5 | Furniture Requirements | Pot scrubbing facilities are required that incorporate emergency manual ware- washing facilities in the event of equipment failure
Pot Washing Area

## Slide 23
Sr. No | Infrastructure | Description
1 | General Considerations | Area shall be provided for stripping, washing and disinfecting of trolleys and carts
2 | Flooring | impervious and non- slip
3 | Ceiling | smooth, impervious and easily cleanable
4 | Wall finish | smooth, impervious and easily cleanable
5 | Plumbing | Hot and cold water outlets
Trolley/ cart wash

## Slide 24
Type of staff | No.
Chief Dietician | 1
Senior Dietician | 1
Dietician | 1
Assistant Dietician | 7
Food and Beverages Manager | 1
Assistant manager | 1
Steward | 1
Diet Clerk | 1
Head cook | 1
Therapeutic cooks | 3
Cooks | 16
Assistant cooks | 10
Masalchi | 10
Store attendant | 2
Trolley bearer | 16
Cleaner | 3
Total | 75
Manpower Requirement

## Slide 25
S.No. | Essential Equipments
1. | Cutting equipments
2. | Weighing machine
3. | Chapatti making machine
4. | Cooking ovens
5. | Dish Washer
6. | Grinding Machine
7. | Mixing machine
8. | Distribution trolley
9. | Refrigerator
10. | Dough mixer
11. | Burners
3) Equipment Planning

## Slide 26
Process flow of department

## Slide 27
Flow of work in Hospital

## Slide 28
Conclusion:
The planning for hospital dietary services department was done. The Planning stated with selection of consultants, work load calculation, Infrastructure planning of the main kitchen, Changes to be incorporated in the main Hospital building and the process flow.