## Slide 1: “GAP ANALYSIS for OPD,IPD,Emergency & Laboratory” Based on IPHS and ISO Standards of District Hospital, Gurdaspur
Submitted by:
Dr.Sukhdeep Kaur
PG/12/090

## Slide 2: PUNJAB HEALTH SYSTEMS CORPORATION(PHSC)
The Punjab Health Systems Corporation was incorporated by the State Govt. in the year 1996 through enactment of Legislative Act, “The Punjab Health Systems Corporation Act, 1996” (Punjab Act No.6 of 1996)
Main objective is implementation of a World Bank assisted Health Systems Development Project for revamping of existing secondary level health care services.
Corporation has taken over 166 Institutions which includes District Hospitals, Sub-Divisional Hospitals and Community Health Centres.
Under this project modernization and updation of 157 hospitals has envisaged through systems supports such as Computerization, HMIS, Disease Surveillance, Training of Personnel, Quality Assurance, Bio-waste Management, Strengthening of Physical Infrastructure (Buildings & Equipments) etc.

## Slide 3: DISTRICT/CIVIL HOSPITAL GURDASPUR (PUNJAB) – PLACE OF DISSERTATION
District Hospital Gurdaspur caters to the people living in urban and rural people in district.
It is referral hospital for Primary Health Centre & Sub- centres. It covers 34 PHC and 48 CHC.
It covers the population of 2,299,026 and build in 6 acres area.
The number of beds available in Hospital is 100.
All departments required for District Hospital are available in this hospital.

## Slide 4: KEY LEARNINGS
Functioning of Government Hospital and management issues related to it.
Checking of day to day work of Hospital
Conducting various committee meetings
Supervising various departments like Medical Record, Housekeeping, Nursing etc.
Managing the work assigned with limited recourses

## Slide 5: INTRODUCTION
Ministry of Health and Family Welfare, Government of India in its bid to bring about a paradigm shift in healthcare delivery system across the country had undertaken initiative for quality improvement in the public health.
Carrying forward the initiative for quality improvement Punjab Health Systems Corporation had started a project to enhance the service quality level at the District hospitals.
To facilitate the above goals, comprehensive study of Civil Hospital, Gurdaspur was carried out on the current processes, practices and existing infrastructure with other available resources to identify the major gaps based on ISO 9001: 2008 quality management system and Indian public health standards as applicable to hospital.
The Gap Analysis Report includes documentation and review of manpower, equipment, infrastructure, processes including training and capacity building activities, services & facilities provided legal compliances etc against IPHS and ISO 9001:2008 Quality Management System

## Slide 6: AIM OF THE STUDY
The aim of study is to identify the areas of current and target quality management system for which provision has not been made in technical architecture. This is required in order to identify projects to be undertaken as part of the implementation of the target quality management system for achieving ISO certification.

## Slide 7: OBJECTIVE OF THE STUDY
To describe the process flow of respective departments in the hospital with the identification of process Owners, Input(s), Output(s) and process flow of each process occurring at each section of hospital with relevant records.
To identify the significant gaps observed on all the processes in each section and explanation of the gap statement with document evidences and photographs. The gaps are analyzes based on IPHS and ISO 9001:2008 standards.
To prepare time bound action plan to fulfil the gaps, if any.

## Slide 8: REVIEW OF LITERATURE
Indian Public Health Standards (IPHS) Guidelines for District Hospitals (101 to 500 Bedded) Directorate General of Health Services, Ministry of Health & Family Welfare, Government of India, Revised 2012.
The IPHS are set of uniform standards envisaged to improve the quality of health care delivery in the country. IPHS guideline focus on each and every area of the hospital showing the infrastructure requirements, Instruments and equipments required, drugs required in hospital, quality assurance and quality control processes and services, statuary compliances.
ISO 9001:2008 Quality Management System – Requirements (Third Revision)
The International Organization for Standardization known as ISO is an international standard -setting body composed of representatives from various national organizations.
ISO 9001:2008 sets out the criteria for a quality management system and is the only standard in the family of ISO 9000 that can be certified to.

## Slide 9: RESEARCH METHODOLOGY
STUDY AREA : Civil Hospital, Gurdaspur
TOOLS : IPHS Checklist, ISO guidelines, interview schedule, Observation notes.
METHOD :
STAGE I: SURVEY
IPHS Checklist used for total survey of the hospital in terms of services provided, Manpower, Physical Infrastructure, Equipments, drugs and Lab Services.
STAGE II:
Observation and personal Interview was used to map the various processes of hospital and to know the functioning of each department.
STAGE III:
Extensive analysis based on data collected from stage I and Stage II.

## Slide 10: Findings & Discussion
OUT PATIENT DEPARTMENT GAP ANALYSIS

## Slide 11
GAP ID NO: | GAP STATEMENT | GAP SEVERITY | GAP REFERENCE
OP001 | Basic facilities are not available in the OPD waiting area for public conveniences. | High | IPHS Physical Infrastuctute/Departemental Lay Out/Clinical Services(I),a,b,c ,ISO 9001: 2008 6.3.(a), 7.2.1 (b)
OP002 | Information displays provided at the Waiting area / other public areas are inadequate | Medium | IPHS Physical Infrastucture /Departemental Lay Out/Clinical Services(I),a, ISO 9001: 2008 7.2.3 (a)
OP003 | Patient privacy not maintained during the consultation | Medium | IPHS Physical Infrastucture/Departemental Lay Out/Clinical Services (I). e, ISO 9001: 2008 6.3(a), 7.2.1(a)

## Slide 12
Drinking water facility without water cooler in OPD

## Slide 13: IN PATIENT DEPARTMENT GAP ANALYSIS
.

## Slide 14
GAP ID NO: | GAP STATEMENT | GAP SEVERITY | GAP REFERENCE
IP001 | Hospital does not have disabled friendly infrastructure. | High | IPHS /Physical Infrastructure/Departmental Layout/Hospital Administrative and support (VII), ISO 9001:2008 6.3, 7.2.1
IP002 | Ward are not well equipped for patient care | High | IPHS Physical Infrastucture/Departmental Layout/Clinical Services (V), ISO 9001:2008 6.3
IP003 | Nursing stations are not located properly for patient monitoring | High | IPHS Physical infrastructure/Departmental Layout/ Clinical Services (V), ISO 9001:2008 6.3 (a)
IP004 | Infection control not being practiced in the wards. | High | IPHS Services/Health Care Workers Saferty(5),Services/Patient Safety and Infection Control(4),ISO 9001:2008 7.2.1.(c)
IP005 | Overcrowding of the patient care areas | Medium | IPHS Physical infrastructure/Departmental Layout/ Clinical Services (V), ISO 9001:2008 7.2.1.(b)
IP006 | Internal transfer of patient is not effective. | Medium | IPHS Physical infrastructure/Departmental Layout/ Clinical Services (VI), ISO 9001:2008 7.2.1(b)
IP007 | Facilities for collection and storage of linen are inadequate | High | IPHS Physical Infrastructure/Departmental Layout/Hospital Services(IV), ISO 9001:2008 6.3, 7.2.1

## Slide 15
Male Ward
Female Ward

## Slide 16: EMERGENCY DEPARTMENT GAP ANALYSIS

## Slide 17
GAP ID NO: | GAP STATEMENT | GAP SEVERITY | GAP REFERENCE
EMER001 | Non availability of Ambulance control room for effective patient transport. | Medium | IPHS Physical Infrastructure/Departmental Layout/Clinical Services (IX), ISO 9001: 2008 6.3 (c)
EMER002 | Emergency department is not fully Equipped. | High | IPHS Physical Infrastructure/Departmental Layout/Clinical Services (IX), ISO 9001: 2008 6.3 (b)
EMER003 | Department is not designed as per requirements of the department | High | IPHS Physical Infrastructure/Departmental Layout/Clinical Services (IX), ISO 9001: 2008 6.3 (a), 7.2.1

## Slide 18
Bed condition in emergency
Equipments in emergency

## Slide 19: LABORATORY GAP ANALYSIS

## Slide 20
GAP ID NO: | GAP STATEMENT | GAP SEVERITY | GAP REFERENCE
LAB001 | Space in the laboratory is not sufficient as per the requirements of district hospital | High | IPHS Physical Infrastructure/Departmental Lay Out/Clinical Services(III), ISO 9001:2008 6.3 (a)
LAB002 | Equipments are not available as the work load | High | IPHS Physical Infrastructure/Departmental Lay Out/Clinical Services(III), ISO 9001:2008 6.3 (b)
LAB003 | No designated sample collection area in the lab. | Medium | IPHS Physical Infrastructure/Departmental Lay Out/Clinical Services(III), ISO 9001:2008 6.3 (a)
LAB004 | Standard safety precautions are not been followed. | Medium | IPHS Services/Patient Safety and Infection Control(5), ISO 9001:2008 6.3.(b), 7.2.1 (b)
LAB005 | Maintenance of the lab equipments not carried out. | High | IPHS Physical Infrastructure/Departmental Lay Out/Clinical Services III), ISO 9001:2008 6.3(b)

## Slide 21
Equipment washing area
Non Functional Autoclave

## Slide 22: CONCLUSION
Gaps of all the departments are mainly process gaps, some of those gaps are infrastructure, equipment and manpower gaps. Study also revealed that what specific and general action to be taken for full filling those gaps. What kind of trainings is required and will be given to the staff including nurses, housekeepers, ward boys and medical officers.
Special consideration on gaps of the department is given and action plan is prepared and need to be monitored by internal experts who include Matron, Senior Medical Officer and Civil surgeon.

## Slide 23: recommendations

## Slide 24: Action Plan suggested for OPD:
Drinking water facility/water cooler to be installed near OPD waiting area.
Ramp with side rails, Disable friendly toilets to be provided in the Hospital.
Sitting arrangements to be made for waiting patients. No of chairs to be increased.
Trash bins to be installed in proper places in adequate quantity. Also near water cooler and in toilets.
Arrangements of Wheel Chairs, stretcher and trolleys.
Arrangement of BP apparatus in the OPD chamber.
Arrangement of weighing machine in the OPD.
Patient privacy should be maintained in the OPD chambers.
All patient care equipments and instruments to be provided in all patient care areas as per IPHS guidelines
Adequate number of Tube lights to be provided.
Uniform signage system to be developed and displayed throughout the hospital
Rights of the patients / Patients Charter to be displayed in area where it is fully visible and readable by public.
Posters imparting health education and awareness to be posted in prominent places in vicinity.
Bilingual format for information dispersal to be implemented.
Suggestion box should be available in the OPD and IPD area.
Curtains to be provided for doors of consultation rooms and in all patient care areas.
Security personnel have to be employed to help in control crowd.

## Slide 25: Action Plan suggested for IPD
Lifts, Handrails in various patient care areas, bathrooms has to be installed to avoid patient fall.
Disabled friendly toilet has to be made available.
The wards to be rearranged so as to provide adequate space for smooth movement.
Crash Cart in IPD.(emergency medicine tray)
Proper locker for keeping the medicines in the IPD.
Water Supply to be made available in the IPD.
Phototherapy, baby warmer has to be available in the post delivery ward.
Visiting time to be fixed for patient’s attendants.
The ward need to be provided with adequate equipments, Instruments, patient furniture for proper patient care activities such as IV Stands, Crash carts, Lockers.
Equipment such as ECG machine, Suction machine has to be made available in the ward.
Wheel chair and trolleys to be provided for each patient care area
Repair work of doors and windows has to be done at the earliest.
Bed railings to be made available in the wards.
Color coded bins for BMW segregation has to be provided in the wards.
Nursing station has to be located centrally for the direct observation and monitoring.
Nursing station has to be equipped with essential patient care equipments such as Crash carts, Dressing trolleys, sets, BP apparatus, Stethoscope, Suction apparatus, oxygen cylinders, Medicines etc.

## Slide 26
Basic requirements such as storage place for inventory, linen, and drugs have to be provided.
Washing areas to be earmarked for washing of badly soiled linen.
Hand washing facility to be provided in all patient care areas.
Documents related to patient care have to be complete.
The department to be integrated with Registration and Admission & Discharge units.
Training of staff in BMW handling will be done.
Proper channel of waste disposal to be ensured.
Periodical pest control measures to be taken in the ward or in the hospital.
Timing for visitors to see the patients has to be decided and strictly imposed.
Appointment of Security personnel to be taken in all the areas to control the traffic.
Hospital policy to be devised and implemented regarding the no. of attendants who can stay with patients.
Hospital policy to be devised and implemented regarding transfer of patients within the hospital.
Adequate no. of wheel chair and trolleys to be maintained.
Soiled linen collection trolley has to be made available.
Storage cabinets for clean linen have to be made available.
Sluicing room has to be there in the wards.

## Slide 27: Action Plan suggested for Emergency:
One person has to be made coordinator for ambulance services.
Phone no. for Ambulance to be advertised.
Availability of driver has to be insured.
Staff to be appointed and positioned according to work pattern.
Observation beds to be available in the Emergency department.
Crash Cart with all essential drugs have to be available.(emergency medicine tray)
Patient monitoring equipment to be available in the Emergency.
Disaster cupboard to be made available in the department.
Arrangement for resuscitation room has to be done.
Ramp in Emergency department to be made available.
The department to be organized as per the workflow.
Triage Area needs to be earmarked just next to the entrance to the ER
Equipments in Emergency should be as per IPHS guidelines.
Stretcher, wheel chair bay has to be made available.

## Slide 28: Action Plan suggested for Laboratory:
Separate lab for Haematology needs to be built.
Demarcation of washing and sampling area to be done.
Availability of personal protective devices such as masks, gloves and apron for all workers.
Availability of fire extinguisher in the lab.
Availability of equipments and instruments as per IPHS Guidelines.
Manual for laboratory showing all the standard procedures.
Display of standard operating procedures in laboratory.
Availability of needle cutter and needle destroyer.
External quality assurance tests to be done.
Proper infection control measures to be practiced.
Practice of proper segregation of waste material as per biomedical waste standards.
Calibration of instruments and record for calibration to be maintained.
Record maintenance of preventive maintenance of each equipment.

## Slide 29: references
Indian Public Health Standards (IPHS)for 101 to 200 bedded District Hospitals. Directorate General of Health Services, Ministry of Health & Family Welfare, Government of India, January 2007.
Available From:http://www.pbnrhm.org/downloads/101-200_beded_District_Hospitals.pdf
Indian Public Health Standards (IPHS) Guidelines for District Hospitals (101 to 500 Bedded) Directorate General of Health Services, Ministry of Health & Family Welfare, Government of India, Revised 2012.
Available from:http://health.bih.nic.in/Rules/District-Hospital-2012-Revised.pdf
ISO 9001:2008 Quality Management System – Requirements(Third Revision)
Available From:http://intra.itiltd-india.com/quality/ISOStandards/ISO9001-2008-STD.pdf
Assessor’s Guidebook for Quality Assurance in District Hospitals 2013(Volume II). Ministry Of Health and Family Welfare, Government of India.
AvailableFrom:http://www.rrcnes.gov.in/quality%20Assurance/Volume%202_National%20Quality%20Assurance%20Standard%20Guidelines%20for%20Assessment%20(23-11-2013)_OP.pdf
"ISO 9001 certifications top one million mark, food safety and information security continue meteoric increase" (Press release). International Organization for Standardization. October 25, 2010. Retrieved March 24, 2014.
Clifford, Stephanie, “So many standards to follow, so little payoff", (May 1, 2005).
Rationalisation of Service Norms for Secondary Care Hospitals, Health & Family Welfare Department, Govt. of Tamil Nadu. (Unpublished)
District Health Facilities, Guidelines for Development and Operations; WHO; 1998.