## Slide 1: Identification of Gaps of support services for NABL accreditation in Nayati Medicity, Mathura by- dr. anjali maheshwari

## Slide 2: NAYATI HOSPITAL
Nayati Healthcare’s Multi Super Speciality Hospital, NayatiMedicity, Mathura, commenced operations in February 2016 and has emerged as one of the finest healthcare providers in the country. With world class infrastructure and finest team of doctors, it is the state’s only comprehensive super specialty quaternary care hospital.
The 351 bed hospital on National Highway 2, Mathura, has seven Centers of Excellence and 14 Specialty departments including Cardiac Sciences, Oncology, Orthopedics and Joint Replacement, Critical Care, Renal Sciences, MAS GI & Bariatric Surgery, Neurosciences, Pulmonary medicine, Pediatrics & Neonatology, Trauma and Emergency. These centers are supported by the region’s most advanced Intensive Care units comprising of MICU, CCU, SICU, NICU and PICU.

## Slide 3: What is nabl?
National Accreditation Board for Testing and Calibration Laboratories (NABL) is an autonomous body under the aegis of Department of Science & Technology, Government of India, it is registered under the Societies Act
NABL has been established with the objective to provide Government, Industry and Society in general with a scheme for third-party assessment of the quality and technical competence of testing and calibration laboratories

## Slide 4: Accreditation
Procedure by which an authoritative body (NABL) gives formal recognition that a body (laboratory) or person (signatory) is competent to carry out specific tasks (scope)
Criteria - ISO/IEC 17025 (includes all those requirements of ISO 9001 relevant to the scope of laboratories)
Assures the client that the procedures and test results are technically valid
Recognizes the technical competence of laboratory staff
Endorses the the laboratory operates the the management system effectively

## Slide 5: Benefits
National and international recognition
Public and industry acceptance
Assurance to clients of good laboratory practice
Provides global equivalence
Provides comparability in measurements
Decision makers can rely on test results
Improves staff motivation
Ensures better support in the event of legal challenge
Saves money by getting it right at first time

## Slide 6
AIM: To achieve the NABL accreditation for Nayati Medicity, Mathura.
Objective-
Identification of Gaps of support services for NABL accreditation in NAYATI MEDICITY, Mathura
Addressing the gaps seen in the system
METHODOLGY
The research methodology adopted for the study is “Observatory and Prospective.”
This study was carried out in tertiary care 350 bedded hospital in Mathura City.

## Slide 7: Bio-Medical Engineering
Biomedical Engineering will ensure high standards of maintenance of biomedical equipment to support uninterrupted patient care and uncompromised patient safety.

## Slide 8: Selection Of Methods
Test and/or Calibration methods should –
Meet the requirements of the customer
Be appropriate for the purpose
Preferably use methods published in International, National, Regional standards
Use latest version of the standard
Use of methods given in scientific texts/ journals, specified by manufacturer of equipment

## Slide 9: CALIBRATION
Procedure developed for new test/ calibration method should contain the following -
Appropriate identification
Scope
Description of the type of item to be tested or calibrated
Parameters or quantities and ranges to be determined
Apparatus and equipment, including technical performance requirements
Reference standards and reference materials required
Environmental conditions required and any stabilization period needed.

## Slide 10: Measurement Traceability
System used to plan the program calibration consists of -
Selection
Use
Calibration
Check
Control
Maintain
Measurement standards reference materials and measuring equipment.
Note: All equipment should be calibrated before being put to use

## Slide 11: SUPPLY CHAIN MANAGEMENT
What needs to be observed, while purchasing the lab materials?
What should be done after receiving material from supplier?
How to evaluate Suppliers?
What records are related to purchase?

## Slide 12: Purchasing Services And Supplies
Establish Policy & procedures for SELECTION and PURCHASE of services and supplies that affect quality of test
Procedure for purchase, Receipt, storage of reagents, laboratory consumables
Material should be used only after inspection and ensuring that they meet the requirements.
Services & Supplies should comply with specified requirement.
Records of inspection be maintained.

## Slide 13
Describe clearly the requirements of supplies and services in purchase documents
Review and approve the documents for technical content before release.
Technical content may include:
Type
Class
Grade
Precise Identification
Specifications
Drawings
Inspection instructions
Approval of Test results
Quality required
Management system standard
Evaluate the suppliers and maintain record of evaluation

## Slide 14: Information Technology
Control of data: Ensure proper checks on calculations and data transfers, when computers are used for -
Acquisitions
Processing
Recording
Reporting
Storage
Retrieval of test/ calibration data

## Slide 15: Information Technology
Ensure –
Computer software is documented and validated
Procedures for protecting data are established and maintained covering
Integrity & confidentiality of data entry
Data storage
Data transmission
Data processing
Proper environmental and operating conditions are provided to computers/ equipment's

## Slide 16: HUMAN RESOURCE MANAGEMENT
Duties and Responsibilities of NABL Staff consists of -
Conducting training programs for effective team building
Collect regular feedback from the staff
Maintain all personal records
Create & conduct induction programs
Perform recruitments exercise
Provide appraisals

## Slide 17: Overall Gap
Chart: 
| Total Compliance | Partial Compliance | No compliance
Sales | 0.45161 | 0.51613 | 0.032258
Total Compliance-
Acceptance testing of equipment and chemicals are done
some departments are following their policies
No compliance:
No test requisition form
Induction program not documented

## Slide 18
Partial Compliance:
Training records not completed
Induction programs are not documented
Small space for storage
Policies are not followed
No feedback from clinicians
Protection of data need to get advance

## Slide 19: Human resource
Chart: 
| Total Compliance | Partial Compliance | No compliance
Sales | 0.33333 | 0.66667 | 0
Total Compliance:
Competency assessment is done
Annual review is done
Partial Compliance:
Training not scheduled for many machines installed in the lab
Induction programs are not documented

## Slide 20: Supply chain management
Chart: 
| Total Compliance | Partial Compliance | No compliance
Sales | 0.4 | 0.6 | 0
Total Compliance:
Receiving records are maintained and documentation is completed and also stored in HIS
Partial Compliance:
Less sufficient storage
Verification of chemicals at the time of receiving but temperature is not noted.
Not sufficient inventory

## Slide 21: Bio medical engineering
Chart: 
| Total Compliance | Partial Compliance | No compliance
Sales | 0.6 | 0.4 | 0
Total Compliance:
Policies are competed
Installation and verification records are completed
Partial Compliance:
Calibration of machines are done but not all are put into records.
Preventive and breakdown maintenance of equipment are done but most have them are left out.

## Slide 22: Information technology
Chart: 
| Total Compliance | Partial Compliance | No compliance
Sales | 0.75 | 0.25 | 0
Total Compliance:
Policies are completed and documented
Authoritization of rights and responsibilityof every employee
Partial Compliance:
Data protection plan need to be improved more

## Slide 23: FEEDBACK SYSTEM
Chart: 
| Total Compliance | Partial Compliance | No compliance
Sales | 0.33333 | 0.33333 | 0.33333
Total Compliance:
Incident reporting system is in action
Partial Compliance:
Feedback from patients and clinicians are collected
No compliance:
Test requisition form not available

## Slide 24: Final analysis
Chart: 
| Total Compliance | Partial Compliance | No compliance
Sales | 0.83871 | 0.12903 | 0.032258
Total Compliance:
Induction programs were modulated
Calibration records are complete
All policies are renewed and documented
Storage space is increased
Inventory management records are fully fleshed
Trainings are conducted as per the standards
Partial Compliance:
Training certificates are not completed
Personal files are still pending with all trainings mentioned.
Test requisition forms in the process.

## Slide 25
Thank you