## Slide 1: Dissertation report
Presented by: Priyanka Anchalia
PG/14/051
Hospital Batch
IIHMR-Delhi

## Slide 2
Learning:
Basic understanding of architecture of hospital building.
How to interact with vendors for product specification of various biomedical equipments.
Design brief of BMW management
Planning of laboratory services using various guidelines.

## Slide 3: ORGANIZATION AND PLANNING OF LABORATORY SERVICES AT AL ABEER EDUCITY

## Slide 4
Overview of the Hospital:
Al Abeer Educity is an upcoming multispecialty cum teaching hospital.
With 750 beds, 113 critical care beds & 12 OTs
Plan for soft launch by August,2016
Soft launch: 300 beds, 30 critical care beds & 5 OTs
  Services: General Medicine, General surgery, Orthopedics, Gynecology etc.
  Support Services: Pharmacy, Laboratory, Blood Bank, EHC, Radiology etc.

## Slide 5
Rationale of the study:
Demand for laboratory services are increasing day by day.
Increased dependency on laboratory for prevention, diagnosis & control of diseases.
60-70% diagnosis are dependent on laboratory.
Provides Two-thirds of all objective details about patients.
Help in reducing the average length of stay of admitted patients.
High income generating and economic asset.

## Slide 6
Ineffective planning leads to overcrowded working conditions.
And also poorly functioning laboratory services.
Affecting the quality of laboratory results.

## Slide 7
Objective:
General Objective:
To organise and plan the laboratory services at Al Abeer Educity.
Specific Objective:
1) To plan infrastructure and equipment for the laboratory services at Al Abeer Educity.
2) To plan the human resource required for the laboratory at Al Abeer Educity.
3) To plan the process flow of laboratory at Al Abeer Educity.

## Slide 8
Methodology:
Descriptive Study
Time period: 64 days
Study Area: Al Abeer Educity
Data Collection Tool: Guiding documents i.e., guidelines, norms & standards
Guiding documents are referred and planning is done accordingly.
Guiding documents include MCI standards, NABL standards, CEA Standards etc.

## Slide 9
Architectural drawing of Laboratory

## Slide 10
Study findings:
Infrastructure Planning
  Space Allocated for different laboratory areas is sufficient.
  Area wise planning for:
  a) MEP, Fire, HVAC, Pneumatic and IT requirements
  b) Furniture & Fixture requirements
  c) Flooring, Ceiling, Cornice, Wall finish etc. specifications

## Slide 11
MEP |  | Fire | HVAC | Pneumatic Station ( 1st floor & EHC) | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) | Handicapped toilet Facility | As per NFPA | AC | 1 | Barcoding system
Fan | Hand washing facility | Smoke Detector |  | Countertops | Computer
Electrical Points 6/16 amps |  |  |  |  | Printer
 |  |  |  |  | Data Point
 |  |  |  |  | Voice Call
    I) Sample Collection areas

## Slide 12
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Phlebotomy chair | Sliding Door (Solid Core/ Glass, Paint finish, Single leaf/ double leaf, half glazed)
Workstation (Laminated, Small, 90cm high) | Cupboards (Wall Mounted-Overhead & Under bench)
Adjustable-height office Chair | Dispenser: Disposable gloves
Louvered panel with storage bins OR Side Shelves to keep syringes, needles, cotton etc. | Wall Mounted Soap Dispenser
Display Board | Wall Mounted Paper Towel Dispenser
Waste Bins | Curtain track: bed screen
 | Curtain: bed screen

## Slide 13
Flooring | Vinyl, Standard slip resistant, seamless, coved
Ceiling | Plasterboard, paint, washable
Cornice (if required) | Aluminium, powdercoat
Skirting | Vinyl, Prefinished, Floor Vinyl Coved, 15cm high
Wall Finish | Paint, Acrylic Washable
Wall Protection (if required) | Composite, Prefinished PVC, Corner guards to 1500 AFFL/ Crash rail at 900 AFFL
Door Protection (if required) | 
Lighting | General fluorescent & down lights

## Slide 14
II) Reception & Reporting Areas
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tubelights (UPS Light-1) | Drinking Water Facility | As per NFPA | AC | 1 (For Blood Bank) | Computer
Fan |  | Smoke Detector |  |  | Printer
Electrical Points 6/16 amps |  |  |  |  | Data Point
 |  |  |  |  | Voice Call

## Slide 15
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Workstation | Cupboards (wall mounted overbench & underbench)
Adustable height office chairs | 
Display Board | 
Waste Bins | 

## Slide 16
Flooring | Tiles, Standard slip resistant;
Ceiling | Acoustic, Prefinished, Drop-in tiles, 60 cm x 120 cm
Cornice (if required) | Aluminium, powdercoat
Skirting | Laminate, Prefinished, 15 cm high
Wall Finish | Paint, Acrylic Washable
Wall Protection (if required) | 
Door Protection (if required) | 
Lighting | General fluorescent & down lights

## Slide 17
III) Waiting Areas
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) |  | As per NFPA | AC | 0 | 
Fan |  | Smoke Detector |  |  | 
Electrical Points 6/16 amps |  |  |  |  | 
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Chairs: Waiting | Door (Solid Core/ Glass, Painted, Single leaf, half glazed with 92 cm clear opening)
Rack for magazine/ newspaper | 
Waste Bins | 

## Slide 18
Flooring | Tiles, Standard slip resistant;
Ceiling | Acoustic, Prefinished, Drop-in tiles, 60 cm x 120 cm
Cornice (if required) | Aluminium, powdercoat
Skirting | Timber, Paint, 15 cm high & 2 cm thick
Wall Finish | Paint, Acrylic Washable
Wall Protection (if required) | 
Door Protection (if required) | 
Lighting | General fluorescent

## Slide 19
IV) Office Areas
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) |  | As per NFPA | AC | 0 | Computer
Fan |  | Smoke Detector |  |  | Data Point
Electrical Points 6/16 amps |  |  |  |  | Voice Call
UPS power point for computer |  |  |  |  | 

## Slide 20
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Workstation with drawers | Cupboards (wall mounted)
Adjustable height office Chairs | Door (Solid Core/ Glass, Painted, Single leaf, half glazed with 92 cm clear opening & Lockable)
Adjustable height office Chairs: Visitor | 
Display Board | 
Waste Bins | 

## Slide 21
Flooring | Tiles, Standard slip resistant;
Ceiling | Acoustic, Prefinished, Drop-in tiles, 60 cm x 120 cm
Cornice (if required) | Aluminium, powdercoat
Skirting | Timber, Paint, 15 cm high & 2 cm thick
Wall Finish | Paint, Acrylic Washable
Wall Protection (if required) | 
Door Protection (if required) | 
Lighting | General fluorescent

## Slide 22
V) FNAC
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) | Hand washing Facility | As per NFPA | AC |  | Barcoding Facility
Fan |  | Smoke Detector |  |  | Computer
Electrical Points 6/16 amps |  |  |  |  | Data Point
UPS power point for computer |  |  |  |  | Voice Call

## Slide 23
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Examination Bed | Cupboards (Wall mounted & Underbench)
Workstation with drawers | Self-Closing Door (Solid Core/ Glass, Paint finish, Single leaf, half glazzed, 92 cm clear opening)
Adjustable height office Chairs | 
Display Board | 
Stool | 
Waste Bins | 

## Slide 24
Flooring | Vinyl, Standard slip resistant, seamless, coved
Ceiling | Plasterboard, Prefinished, Drop-in tiles, 60 cm x120 cm
Cornice (if required) | Aluminium, Powder coat
Skirting | Vinyl, Prefinished, Floor Vinyl Coved 15 cm high
Wall Finish | Paint, Acrylic Washable For wet areas: Tiles, Glazed, Splashback
Wall Protection (if required) | 
Door Protection (if required) | Composite, Prefinished PVC, Protection plate to 900 AFFL Door protection also be done to door frame
Lighting | General fluorescent
Remarks | Windows desirable

## Slide 25
VI) Stores
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) |  | As per NFPA | AC |  | Access Control
Electrical Points 6/16 amps |  | Smoke Detector |  |  | 
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Storage Shelf | Self-Closing Door (Lockable, Single leaf, half glazed)
Refrigerator | 

## Slide 26
Flooring | Vinyl, Standard slip resistant, seamless, coved
Ceiling | Acoustic, Prefinished, Drop-in tiles, 60 cm x120 cm
Cornice (if required) | Aluminium, Powder coat
Skirting | 
Wall Finish | Paint, Acrylic Washable
Wall Protection (if required) | 
Door Protection (if required) | 
Lighting | General fluorescent
Remarks | Windows desirable

## Slide 27
VII) Staff’s Rest Room
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) |  | As per NFPA | AC |  | 
Fan |  | Smoke Detector |  |  | 
Electrical Points 6/16 amps |  |  |  |  | 
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Comfortable Chairs | Cupboards(wall mounted or under bench)/ Lockers: Personal belongings
Table | Door (Solid Core/ glass, paint finish, Single leaf, obsevation panel, 92 cm clear opening & lockable
Kettle | 
Waste Bins | 

## Slide 28
Flooring | Tiles, Standard slip resistant
Ceiling | Acoustic, Prefinished, Drop-in tiles, 60 cm x120 cm
Cornice (if required) | Aluminium, Powder coat
Skirting | Timber, Paint, 15 cm high X 2 cm thick
Wall Finish | Paint, Acrylic Washable
Wall Protection (if required) | 
Door Protection (if required) | Vinyl, Prefinished, Kickplate:30 cm high
Lighting | General fluorescent

## Slide 29
VIII) Washing Areas
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tubelight (UPS Light-1) | Sinks (elbow Operated) | As per NFPA | AC |  | 
Electrical Points 6/16 amps | One sink for hazardous substances (elbow operated tap) | Smoke Detector |  |  | 
 | Handwashing facility |  |  |  | 

## Slide 30
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Waste Bins | Self-Closing Door (Solid core/ glass, Paint finish, Single leaf, observation panel & pull handle/ push plate)
 | Detergent dispenser: sinks
 | Soap dispenser: hand washing facility
 | Paper towel dispenser: hand washing facility
 | Dispenser Disposable gloves
 | Countertops
 | Shelf: Stainless Steel

## Slide 31
Flooring | Vinyl, non-slip, Safety, seamless, coved. (tiles also acceptable)
Ceiling | Plaster wood, Prefinished, Drop-in tiles, 60 cm x120 cm
Cornice (if required) | Aluminium, Powder coat
Skirting | Vinyl, Prefinished, Floor vinyl coved 15 cm high
Wall Finish | Paint, Acrylic Washable
Wall Protection (if required) | 
Door Protection (if required) | Composite, Prefinished PVC, Protection plate to 90 AFFL Door protection also required for door frame
Lighting | General fluorescent
Remarks | Window desirable

## Slide 32
IX) Clinical Laboratories
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) | Hand washing Facility | As per NFPA | AC |  | Barcoding Facility
Electrical Points 6/16 amps | Eye wash Facility & Emergency Shower | Smoke Detector | Exhaust |  | Computer
 | Sinks (Elbow Operated taps) |  |  |  | Data Point Voice Call

## Slide 33
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Workstations | Cupboards (Wall mounted & Under bench)
Table with drawers | Self-Closing Door (Solid Core/ Glass, Paint finish, Single leaf, half glazed, 92 cm clear opening)
Adjustable height office Chairs | Soap dispenser: hand washing facility
Display Board | Paper towel dispenser: hand washing facility
Waste Bins | Dispenser Disposable gloves

## Slide 34
Flooring | Vinyl, Standard slip resistant, seamless, coved.
Ceiling | Plasterboard, Prefinished, Drop-in tiles, 60 cm x120 cm
Cornice (if required) | Aluminium, Powder coat
Skirting | Vinyl, Prefinished, Floor vinyl coved 15 cm high
Wall Finish | Paint, Acrylic Washable For wet areas: Tiles, Glazed, Splash back
Wall Protection (if required) | 
Door Protection (if required) | Composite, Prefinished PVC, Protection plate to 90 AFFL Door protection also required for door frame
Lighting | General fluorescent
Remarks | Window desirable

## Slide 35
X) Toilets
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) | Hand washing Facility | As per NFPA | Exhaust |  | 
 | Handicapped toilet facility |  |  |  | 
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Waste Bins | Door (Solid Core, Paint finish, Single Leaf, 92 cm clear outward opening, privacy latch, emergency release)
 | Grab rail (1-behind toilet, 1 to side) (drop down rail, optional)
 | Soap dispenser: hand washing facility
 | Paper towel dispenser: hand washing facility
 | Dispenser Toilet paper

## Slide 36
Flooring | Tiles, Non slip, Ceramic. OR Non slip Vinyl Flooring
Ceiling | Plasterboard, Prefinished, Water resistant Drop-in tiles, 60 cm x120 cm
Cornice (if required) | Aluminium, Powder coat
Skirting | Tiles, To match floor, coved OR Coved vinyl skirting
Wall Finish | Paint, Acrylic Washable For wet areas: Tiles, Glazed, Splash back
Wall Protection (if required) | 
Door Protection (if required) | Composite, Prefinished PVC, Protection plate to 90 AFFL. Door protection also be done to door frame & on both sides of door
Lighting | General fluorescent

## Slide 37
XI) Refreshment Room
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) |  | As per NFPA | AC |  | 
Fan |  | Smoke Detector |  |  | 
Electrical Points 6/16 amps |  |  |  |  | 

## Slide 38
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Resting Couch/ Bed | Self-Closing Door (Solid Core, Paint finish, Single Leaf, 92 cm clear outward opening, privacy latch, emergency release)
Table | 
Chair | 
Refrigerator | 
Waste Bin | 

## Slide 39
Flooring | Tiles, Standard slip resistant.
Ceiling | Plasterboard, Prefinished, Drop-in tiles, 60 cm x120 cm
Cornice (if required) | Aluminium, Powder coat
Skirting | Laminate, Prefinished, 15 cm high
Wall Finish | Paint, Acrylic Washable
Wall Protection (if required) | 
Door Protection (if required) | 
Lighting | General fluorescent & down lights

## Slide 40
XII) Blood Collection Area
MEP |  | Fire | HVAC | Pneumatic Station | IT
Electrical | Plumbing |  |  |  | 
Tube lights (UPS Light-1) | Hand washing Facility | As per NFPA | AC |  | Voice Call
Fan |  | Smoke Detector |  |  | 
Electrical Points 6/16 amps |  |  |  |  | 
Furniture & Fixture Requirements | 
Furniture | Fixtures & Fittings
Donor Couch | Cupboards (overhead)
Table with drawers | Storage bins
Chair mobile/ Stool: adjustable, mobile | Trolley
Display Board | 
Waste bins | 

## Slide 41
Flooring | Vinyl, Standard slip resistant
Ceiling | Acoustic, Prefinished, Drop-in tiles, 60 cm x120 cm
Cornice (if required) | Aluminium, Powder coat
Skirting | Vinyl, Prefinished, Floor vinyl coved15 cm high
Wall Finish | Paint, Acrylic Washable
Wall Protection (if required) | 
Door Protection (if required) | 
Lighting | General fluorescent & Down lights colour corrected over each collection chair

## Slide 42
2) Equipment Planning
LABORATORY AREA | Equipments
 | Description
SAMPLE COLLECTION AREA (First Floor) | Needle Destroyer
 | Tourniquets
 | BP Apparatus
 | Stethoscope
 | Oxygen Cylinder (For emergency)
 | Sample Carrying trays

## Slide 43
FNAC | Oxygen Cylinder
 | Defibrillator with monitor
 | BP Apparatus
 | Stethoscope
 | Instrument Trolley
 | Foot Step
 | Cameo Syringe Pistol, Aspire-Gun, or other type aspiration handle
 | Weighing Machine
 | Stretcher Trolley
 | Dressing Trolley
COLD STORE | Refrigerator without freezer
 | Temperature Sensor: Refrigerator
 | Refrigerator for sample storage

## Slide 44
MEDIA ROOM | Refrigerator
 | Hot Plate
 | Biosafety Cabinet (II)
 | Electrical Precision Balance
 | Hot Air Oven
 | Culture Jars
 | Droppers
 | Spatulas
 | Petri dish carrying trays
AUTOCLAVE | Autoclave

## Slide 45
BACTERIOLOGY | Microscope
 | Stopwatch
 | Biosafety Cabinet (II)
 | Spirit lamp/gas
 | Pipette
 | Sterile loops/forceps
 | Centrifuge
 | Incubator
 | Refrigerator
 | Culture Media
 | Rapid test kits Malaria, Dengue, HIV, HCV, Syphilis, scrub typhus, typhoid, pregnancy test
 | Antibiotic disc

## Slide 46
MICROBIOLOGY | Microscope
 | Hot Air Oven
 | Incubator
 | Shaker
 | VDRL Rotator
 | Photoelectric Colorimeter
 | Centrifuge
 | Water Bath
 | Biosafety Cabinet (II)
 | Precision Balance
 | PH Meter
 | Reagent Refrigerator
 | Culture Media
 | Petri dish

## Slide 47
MYCOLOGY | Microscope
 | Stopwatch
 | Biosafety Cabinet (II)
 | Autoclave
 | Spirit lamp/gas
 | Sterile loops/forceps
 | Pipette
 | Centrifuge
 | Incubator
 | Refrigerator
 | Antibiotic disc
 | Cooling Incubator
 | Rapid test kits Malaria, Dengue, HIV, HCV, Syphilis, scrub typhus, typhoid, pregnancy test
 | Tube racks/slide racks

## Slide 48
BIOCHEMISTRY | Dry bath Incubator
 | Cyclomixer
 | Semi Auto Analyzer
 | ABG Machine
 | Electrolyte Analyzer
 | Nycocard
 | Refrigerator
 | Biochemistry Fully auto Analyzer
 | Immuno analyzer
 | Hormone analyzer
 | Microscope
 | Stopwatch
 | Spirit lamp/gas
 | Pipette
 | Simple Balance
 | Tube racks/slide racks
 | Modified Neubaurs chamber
 | VDRL Rotator
 | Water bath
 | Incubator
 | Calorimeter
 | Flame Photometer
 | Sterilizer

## Slide 49
HEMATOLOGY & IMMUNOLOGY | Microscope
 | Stopwatch
 | Spirit lamp/gas
 | Pipette
 | Centrifuge
 | Incubator
 | Refrigerator
 | Tube racks/slide racks
 | Sahli’s Hemoglobin meter
 | Modified Neubaurs chamber
 | Thoma WBC pipette
 | RBC Pipette
 | Semi auto coagulation analyzer
 | Westergren tube
 | Wintrobes tube
 | Hematology fully automated analyzer
 | Rapid MP kits

## Slide 50
HISTOPATHOLOGY & CYTOLOGY | Microscope (10X & 40X)
 | Stopwatch
 | Spirit lamp/gas /hot air oven
 | Microtome
 | Wax Bath
 | Tissue Processor
 | Pipette
 | Cytocentrifuge for CSF
 | Centrifuge
 | Incubator
 | Refrigerator
 | Tube racks/slide racks
 | Grossing equipment like surgical blade/ knife/cassettes etc.
 | Tissue processor (Optional) according to the workload
 | L- mound/ embedding station
 | Water bath
 | Hotplate
 | Staining moulds/ staining jars/slide trays

## Slide 51
CLINICAL PATHOLOGY | Microscope
 | Stopwatch
 | Spirit lamp/gas
 | Pipette
 | Centrifuge
 | Incubator
 | Refrigerator
 | Tube racks/slide racks
 | Modified Neubaurs chamber
 | Urine testing strips
 | Occult blood strips
SEROLOGY | 2-10 microliter single-channel, adjustable pipette
 | 2-5 ml repeating pipette
 | Humidified Chamber
 | Incubator 35-40⁰C
 | Fluorescence Microscope
 | Slide washing reservoirs
 | ELISA Reader
 | ELISA Washer

## Slide 52
BLOOD COLLECTION | Blood Bank Refrigerator 165 Liter (storing unscreened Blood)
 | Blood Bank refrigerator 300Litre (Storing Screened Blood)
 | Tube stripper
 | Dielectric Tube Sealer- Bench Top
 | Weighing device for blood container
 | Blood Collection Monitor
 | For Hemoglobin determination: Calorimeter-Photoelectric Colorimeter / Hemoglobin meter
 | For Temperature and Pulse Measurements-Clinical thermometer – -100C -1100C
 | Watch with seconds hand and stop watch - std
 | Emergency Equipment: Oxygen cylinder with mask, gauss and pressure regulator
 | Sphygmomanometer & Stethoscope
 | Needle Destroyer
 | Donor Weighing Scale
 | Emergency Medicine trolley
 | Trays for blood sample containers

## Slide 53
APHERESIS | Cell separator (Apheresis Machine)
 | Portable tube sealer
 | Emergency Medicine trolley
 | Oxygen Cylinder
 | Tubing sets
 | Donor's Weighing Machine
MEDICAL EXAM | Height Measuring Tape
 | Compound Microscope- Binocular Microscope

## Slide 54
LAB-1 & LAB-2 | Table top centrifuge
 | Refrigerator for diagnostic kits and reagents. Maintaining 1⁰ to 80⁰C with digital display and alarm.
 | Slide viewing box
 | Incubator
 | Hot Air oven
 | Mechanical shakers - VDRL – Mini rotary shakers
 | Test tube racks - small – standard
 | Test tube racks - medium – standard
 | Test tube racks - large – standard
 | Interval timer electric or spring wound - Racer timer – digital
 | Insulated containers for transporting blood between 20⁰C and 100⁰C to wards and hospitals
 | Micropipettes – variable volume
 | Wash Bottles - 250 ml - standard
 | Elisa Reader
 | Elisa Washer
 | Needle Destroyer
WASH ROOM | Autoclave portable

## Slide 55
COMPONENT SEPARATION | Refrigerated Centrifuge
 | Plasma Expresser
 | Dielectric Tube Sealer-Bench Top/Portable
 | Platelet Agitator with Incubator
 | Plasma Thawing bath
 | Cryo Thawing bath
 | Electronic weighing scale with facilities for balancing two blood bags
 | Blood Bank refrigerator for storing of Packed Red cells
 | Laminar Air Flow Bench- Horizontal
 | Deep Freezer – 40 with circular temperature recorder
 | Deep Freezer-80 with circular temperature recorder

## Slide 56
3) Manpower planning
MINIMUM MANPOWER REQUIREMENT (GENERAL) | 
Manpower | Qualification
Director/ Lab In-charge | MD/DNB Pathology/Lab Medicine/ Biochemistry/ Medical Microbiology/ DCP with one year post diploma experience / MBBS with PhD in any of the 3 subjects/
Specialist | Apart from in charge, if any special test of other speciality is done, it is desirable that specialist of that subject need be there on full time/part time or outsourced (Special tests means any other apart from routine basic biochemistry, haematology, or microbiology tests as listed above)
Laboratory Head | Who will be overall in-charge of that laboratory
Quality Manager | 
Laboratory technicians | DMLT / MLT/BSc in lab sciences/ MSc in lab sciences/PhD in lab sciences qualification (govt / university)
Support Staff | Support staff (Lab Assistant / Lab Attendant)

## Slide 57
Medical (Clinical) Laboratory |  | For processing of samples and operation of equipment | For interpretation signing and reporting
Clinical Biochemistry | Qualified | MSc MLT, BSc MLT, DMLT and vocational and/or certificate course in technology | M.B.B.S. with post graduate diploma/ degree in Biochemistry/ Pathology/Microbiology/Lab medicine or equivalent recognized by MCI or NBE or as applicable and registered medical practioner with Medical Council of India/ State Medical Council
 | Trained | MSc Medical Biochemistry/ Medical Microbiology/ Biotechnology/ BSc Medical Biochemistry/ Medical Microbiology/ Biotechnology/Metric with 5 yrs. of experience in clinical laboratory under qualified authorised signatory | MBBS with work experience in a clinical laboratory registered with Medical Council of India/ State Medical Council

## Slide 58
Pathology including Clinical Pathology, Cytopathology, Haematology, Histopathology | Qualified | MSc MLT, BSc MLT, DMLT and vocational and/or certificate course in technology | M.B.B.S. with post graduate diploma/ degree in Pathology /or equivalent recognized by MCI or NBE or as applicable and registered with Medical Council of India/ State Medical Council. M.B.B.S. with post graduate diploma/ degree in Microbiology for reporting histopathology of infectious diseases
 | Trained | MSc Medical Biochemistry/ Medical Microbiology/ Biotechnology/ BSc Medical Biochemistry/ Medical Microbiology/ Biotechnology/Metric with 5 yrs. of experience in clinical laboratory under qualified authorised signatory | 

## Slide 59
Microbiology and Serology including Bacteriology, Mycology | Qualified | MSc MLT, BSc MLT, DMLT and vocational and/or certificate course in technology | M.B.B.S. with post graduate diploma/ degree in Microbiology /Lab medicine or equivalent recognized by MCI or NBE or as applicable and registered medical practioner with Medical Council of India/ State Medical Council
 | Trained | MSc Medical Biochemistry/ Medical Microbiology/ Biotechnology/ BSc Medical Biochemistry/ Medical Microbiology/ Biotechnology/Metric with 5 yrs. of experience in clinical laboratory under qualified authorised signatory | 

## Slide 60
Manpower | Qualifications
Medical Officer | Blood banks collecting more than 10,000 units of blood and/or having blood component license should employ a Diploma or M.D or M.D. (Pathology) with minimum one year experience in blood bank to head the services. Blood banks collecting < 10,000 units should at least have an MBBS doctor with minimum one year experience in blood bank to manage the services. A quality manager should be appointed / deputed (either a medical officer or a senior MLT trained in quality management) in all blood banks collecting >10,000 units per year.
Blood Bank Technician(s) | 1. Degree in Medical Laboratory Technology (M.L.T) with six months’ experience in the testing of blood and/or its components; or 2. Diploma in Medical Laboratory Technology (M.L.T) with one year’s experience in the testing of blood and / or its components. Note: the degree or diploma being from a University / Institution recognized by the Central Government or State Government.

## Slide 61
Registered Nurse | 
Technical supervisor (where blood components are manufactured as required) | 1. Degree in Medical Laboratory Technology (M.L.T) with six months’ experience in the preparation of blood components; or 2. Diploma in Medical Laboratory Technology (M.L.T) with one year’s experience in the preparation of blood components, Note: the degree or diploma being from a University / Institution recognized by the Central Government or State Government.

## Slide 62
PROCESS FLOW OF LABORATORY

## Slide 63
Recommendations
The following are recommended:
Sample Collection area on ground floor with WC.
WC for sample collection area on first floor.
Area is required for record keeping and sample storage.
Area is required for placing of Pneumatic station in main lab.
Separate Staff’s rest room for male & female staff should be provided.
Separate area is required for dirty & clean autoclave.

## Slide 64
References:
Sakharkar BM, Principles of Hospital Administration & Planning. 2nd Edition. Harayana: Jaypee Brothers Medical Publishers (P) Ltd; 2009.
India. Medical Council of India. Minimum Standard Requirements for The Medical College: For 150 admissions annually, regulation, 1999: Medical Council of India, 1999. (Available from: http://www.mciindia.org/helpdesk/how_to_start/STANDARD%20FOR%20150.pdf accessed on 15th March, 2016)
New Delhi. Indian Council of Medical Research. Guidelines for Good Cinical Laboratory Practices (GCLP): Indian Medical Council of Medical Research; 2008. (Available from: http://icmr.nic.in/guidelines/GCLP.pdf accessed on 17th March, 2016)
India. Clinical Establishments (Registration & Regulation) Act, 2010. Clinical Establishment Act Standards for Medical (Clinical) Laboratory; CEA /Laboratory- 026: Central Government; 2012. (Available from: http://clinicalestablishmentstraining.nic.in/WriteReadData/669.pdf accessed on 17th March, 2016)
India. National Accreditation Board for Testing and Calibration Laboratories. Specific Criteria for Accreditation of Medical Laboratories; NABL 112; Issue No. 3: Quality Council of India, 2012 (Available from: www.nabl-india.org/nabl/file_download.php?filename=201210170522-NABL-112-doc%20.pdf accessed on 18th March, 2016)
Chicago. Facility Guidelines Institute. Guidelines for design and construction of Hospitals and Outpatient Facilities, Standard 170-2013. American Hospital Association, 2014.

## Slide 65
References (Contd.):
India. IS/ISO 15189:2007. Indian standard medical laboratories - particular requirements for quality and competence. New Delhi, Bureau of Indian Standards, 2010. (Available from: https://law.resource.org/pub/in/bis/S09/is.iso.15189.2007.pdf accessed on 23rd March, 2016)
United Kingdom. Health Building Code-15. Facilities for pathology services: second edition, 2005. UK, NHS, 2005. (Available from: https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/149167/HBN_15.pdf accessed on 10th April, 2016)
Abu Dhabi. HAAD. Health Facility Guidelines, Version 3.3, April 2014. Abu Dhabi, Health Authority-Abu Dhabi, 2014. (Available from: http://www.healthdesign.com.au/haad.hfg/Full_Index/full_index.html accessed on 15th April, 2016)
InformDesign, University of Minnesota (Internet). Change in Clinical Labs in Hospitals Vol 3, Issue 9, 2005 (cited on 20th March, 2016). Available from: http://www.informedesign.org/_news/sept_v03r-p.pdf.
Karen K. Mortland. Laboratory Design for Today’s Technologies. Med Technet Online Services (Internet), 2005 May (Cited on 19th April, 2016) (Available from Med Technet: http://www.medtechnet.com/public_pdf/mtc17.pdf)
India. The Drug And Cosmetics Act, 1940. Part XII-B for Blood Bank. Indian. Ministry Health & Family Welfare, 1986. (Available from: http://www.naco.gov.in/upload/2014%20mslns/BTS/Drug%20&%20Cosmetic%20Act%201940.pdf accessed on 1st May, 2016)