## Slide 1
Dissertation
At
National Rural Health Mission, Bihar
Dissertation Report on
IMPLEMENTING QUALITY STANDARD IN SUB –DIVISIONAL HOSPITAL MAHUA
Vikas Kumar Gupta PG/11/120

## Slide 2: LEARNING DURING DISSERTATION
Attend the Bio Medical Waste (BMW) workshop.
Labour room assessment as hospital manager.
Visit of the community as a health manager.
Prepare ACTION PLAN as a HOSPITAL MANAGER.
Prepare the Gap analysis report as a Hospital manager.
Mobilize the Asha, AWW and ANM for program successful.

## Slide 3: INTRODUCTION
Sub-Divisional Hospital Mahua is 80 bedded referral unit situated in Mahua Bock. .
One of the major component of NRHM was to establish the quality healthcare services in public hospitals as per standards. For this purpose Indian Public Health Standards (IPHS) were released to provide optimal specialized care within a define parameters of quality in public hospitals.
In this study the gap analysis of SDH Mahua hospital is done by using IPHS standards.

## Slide 4: INTRODUCTION
Sub-district (Sub-divisional) hospitals are below the district and above the block level (CHC) hospitals and act as First Referral Units for the Tehsil /Taluk /block population in which they are geographically located.
Referral hospital plays an important referral link between the Community Health Centers, Primary Health Centers and sub-centers.

## Slide 5: RATIONAL OF THE STUDY
In order to provide Quality of Care in FRUs, Indian Public Health Standards (IPHS) are being prescribed to provide optimal expert care to the community and achieve and maintain an acceptable standard of quality of care. These standards would help monitor and improve the functioning of the Referral Hospital.
To facilitate the above goals, comprehensive study of Referral Hospital was carried out on the current process, practices and existing infrastructure with other available resources to identify the major gaps based on Indian Public Health Standards as applicable to Referral Hospital to enhance the service quality level.

## Slide 6: OBJECTIVE
GENERAL OBJECTIVES
To study and analysis the gap of SDH ,MAHUA hospital Patna in Bihar by compare with the IPHS guideline.
SPECIFIC OBJECTIVES
Describes the process flow of all the departments in the REFERRAL HOSPITAL Patna; with the identification of process owners, Input(s), Output(s) and process flow as each process occurring at each section of the hospital with the relevant records.
To analysis the gap (infrastructural, instrumental etc.) in all dept. of SDH MAHUA hospital of Bihar

## Slide 7: DATA AND METHOD
Both primary & secondary data collection was carried out to assess the current system and potential improvement. The study was completed with the help of two stages:-
Stage 1.
IPHS checklist was used for a total survey of the hospital. The survey was done to understand the scope of services, status of manpower, physical infrastructure, status and availability of equipments and diagnostic services.
Stage 2.
Observations were used to map the various processes of the hospital and to know the functioning of the each department.

## Slide 8: DATA AND METHOD
STUDY AREA :- various department of hospital were visited which includes operation theatre (OT) dept., Labour room dept., NBCC dept., Pharmacy dept., IPD, OPD, Emergency, Family Planning dept., Routine Immunization dept. etc.
STUDY DESIGN :- Observational study to analyse the gaps within the facility by using IPHS standards.
Data Collection TOOL: Checklist
Duration of the Study: February 19 to April 26, 2013

## Slide 9: Gap analysis
Gap ID No. |  | OP001
Gap Statement: Registration counter is in the open. |  | 
Rationale/Explanation: For registration the patient has to stand outside in the open. The area is not covered and patients have to stand in adverse weather condition. There is no chair or bench available for the patients to sit. |  | 
Gap Classification Structure | *Gap Severity Rating Medium | 
Gap Reference | IPHS Standards (4.1.3.) | 
Gap Analysis:

## Slide 10
Gap ID No. | OP002
Gap Statement: Space for patient waiting area is a narrow corridor. | 
Rationale/Explanation: There is no designated waiting area for the patients. The patients wait outside the consulting chamber in the corridor. There is no sufficient space for waiting of the patients. No supporting facilities (like wheelchair, ramps, handrails & trolleys) for disabled patients. Rights of the patients/ Patients Charter are not displayed. | 
Gap Classification Structure | *Gap Severity Rating Medium
Gap Reference | IPHS (4.1.4 & 4.1.5, 4.1.6)

## Slide 11
Gap ID No. | OP003
Gap Statement: Basic facilities are not available in the OPD | 
Rationale/Explanation: There is no waiting area. The doorway leading to the entrance not has a ramp facility easy access for handicapped patients; wheelchairs and stretchers are also not available. Toilets with adequate water supply separate for males and females are not available. Drinking water is not available in the patient’s waiting area. There are in-adequate chairs for patients and attendant in waiting area. | 
Gap Classification Structure | *Gap Severity Rating Medium
Gap Reference | IPHS (4.1.4 & 4.1.5)
Supporting Annexure | Photograph

## Slide 12: gaps analysis of Ipd
Gap ID No. | IP001
Gap Statement: Wards are not fully equipped for patients care. | 
Rationale/ Explanation: Patient transport facility (from OP consultation room to ward) is not adequate for vulnerable patient. Bed side lockers are not provided to keep medicines. Bed railings are not available in the wards. Pillow and blanket not provided to patient. Waste segregation bins are not available near the patient’s bed. Drinking water facility is not available in ward area. Waiting area for patient’s attendant is not available in front of wards. The cots and mattresses are in bed condition and need immediate repair. All the drugs are not available in the hospital and some have to bought from outside. Wards are not clean. No washing area is designated for washing of badly soiled linen. | 
Gap Classification Structural | *Gap Severity Rating High
Gap Reference | IPHS (4.1.8)
(2.1) For Gap Analysis:

## Slide 13
Gap ID No. | IP001
Gap Statement: Infection control not being practiced in the ward. | 
Rationale/ Explanation: Cheattle Forceps and thermometer kept in the Savlon Solution but the solution is not changed every day. There is no separate area to keep the sterile and unsterile equipments. The Biomedical waste segregation is not as per guidelines. Color coded dustbins have not been provided in the wards. Needle cutter is not available in the ward. Unsterile instruments are used by staff nurse/ ANM. Cleaning and mopping schedule is not proper and disinfectants are not used. | 
Gap Classification Process | *Gap Severity Rating Medium
Gap Reference | IPHS (4.1.8)
Supporting Annexure | Photographs
Gap Analysis:

## Slide 14: Maternity & Child Health Care:
Gap ID No. | IP001
Gap Statement: Essential facility for labour room is not available. | 
Rationale/ Explanation: There are no separate areas for septic and aseptic deliveries. The labour room is not well-lit and ventilated with an attached toilet facilities. No scrub room for doctors and nurses. No sterile supply in labour room. | 
Gap Classification Structure | *Gap Severity Rating Medium
Gap Reference | IPHS (4.1.10)
Supporting Annexure | Photograph
Gap Analysis:
Pics...

## Slide 15: Emergency
Gap ID No. | IP 007
Gap Statement: Patients are not accompanied by any hospital staff during transfer. | 
Rationale/ Explanation: The Referral Hospital has 24hr facility for the Ambulance. During transfer no staff member accompanies the patient in ambulance in critical cases. | 
Gap Classification Structure | *Gap Severity Rating High
Gap Reference | IPHS (4.1.11)
Supporting Annexure | -
Gap Analysis:

## Slide 16: Ot
Gap ID No. |  | OT001
Gap Statement: OT is not designed as per standard guidelines. |  | 
Rationale/ Explanation: No concept of zoning exists at present. There is no separate dress change area in the OT. There are windows which are not sealed. Scrubbing Room is inside the Operating Room. |  | 
Gap Classification Structure |  | *Gap Severity Rating High
Gap Reference | IPHS (4.1.9) | 
Supporting Annexure |  | -
Gap Analysis:
Pics...

## Slide 17: 4 STERILIZATION UNIT
Gap ID No. | OT001
Gap Statement: Sterilization process is not commensurate the standard sterilization practices. | 
Rationale/ Explanation: Calibration and maintenance of Autoclave is not being done. Chemical indicators for sterilization are not being used. Instruments are not disinfected and washed in enzymatic solution. Decontamination of instruments, gloves, cannulae and syringes are not in practices. No proper storage and re-assembly of instruments. No testing of sterilization. | 
Gap Classification Structure | *Gap Severity Rating Medium
Gap Reference | IPHS (4.1.9)
Supporting Annexure | Photographs
Process Group | Administration(Procurement) | Sub-Process | Procurement of drugs and kits, Lab equipments & stationary.
Medical Store
Process Flow:

## Slide 18: Findings
There are no adequate chairs in waiting area.
No availability of Wheel chairs & trolley ramp.
Too many patients and its relative enter the consultation chamber at a time.
OPD patient’s registration takes place from 8:00 am to 12:00 pm.
There are two registration counters for both female and male patients.
Drinking Water facilities is not available
Not available essential equipment in labor room
In emergency not available required instrument
Very Less human resource in hospital but hospital is running with help of PHC staff
Nursing staff is very efficient

## Slide 19: RECOMMENDATION
To maintain the quality of services external and internal monitoring should be done in regular basis.
Training of staff to make them efficient .
Should be distribute the work in the staff.
Should be evaluate the work in the weekly basis.

## Slide 20
Thank You