## Slide 1: Assessment of Labour rooms of PHCs in District Rampur, UP based on Indian Public Health Standards
DISSERTATION REPORT
Presented by-Dr Kalpana Pawalia
PG/13/031

## Slide 2: ORGANIZATIONAL PROFILE- IHAT
The Government of Uttar Pradesh (GoUP) and Bill & Melinda Gates Foundation (BMGF) signed a MOC on December 13th 2012
In pursuance of the MOC, BMGF has contracted India Health Action Trust (IHAT) to set up a Technical Support Unit (TSU) that will report to the Principal Secretary Health, Government of Uttar Pradesh in Lucknow.
The TSU have the support structures in select divisions, districts, and blocks to advise and support government structures (state/district/divisional level machinery, PHCs, sub-centres, and ICDS centres, etc.), frontline workers (FLW) and other service delivery points

## Slide 3
Objectives
To reduce maternal, neonatal and child morbidity and mortality, total fertility and improve key nutrition and health outcomes by scaling up existing and new innovative solutions through public and private sectors through techno-managerial support to the public health system to improve the reach, coverage and quality of essential primary health, immunization and nutrition services for children under five years and women of reproductive age especially pregnant women, newborns and children under five years – as per targets in the State Program Implementation Plan in the areas mentioned above
The TSU’s goal is to support the government to increase the efficiency, effectiveness and equity of the delivery of key RMNCH+A services to improve RMNCH+A outcomes in UP.

## Slide 4: RMNCH+A Program

## Slide 5: SITUATIONAL ANALYSIS
SNO | INDICATOR | INDIA | UP | RAMPUR
1 | Population | 121 crore | 19.96 crore | 2335398
2 | Sex ratio | 940 | 912 | 909
3 | TFR | 2.5 | 3.8 | 3.7
3 | MMR | 178 | 392 | 282
4 | IMR | 42 | 50 | 64
5 | % Institutional deliveries | 49.3% | 22.1% | 43.9%
Source- census2011 , NFHS 3,AHS 2011,SRS 2013

## Slide 6: DISTRICT RAMPUR
7 blocks
- MILAK
- CHAMRAWA
- SWAR
- BILASPUR
- SHAHZADNAGAR
- SHAHBAD
- TANDA

## Slide 7: Assessment of labour rooms of PHCs in district Rampur ,U.P based on Indian Public Health Standards

## Slide 9: OBJECTIVES
General Objectives
To assess the existing status of the labor rooms available in the PHC establishments in Rampur district ,Uttar Pradesh as per the IPHS norms developed under the NRHM.
Specific Objectives
To assess the existing status of the labor rooms available in the PHC with respect to dimensions and cleanliness and maintenance activities.
To assess the existing status of the labour rooms available in the PHC with respect to practices to prevent cross infection.
To assess the existing status of the labour rooms available in the PHC with respect to preparedness of labour rooms to handle septic and infected deliveries.
To assess the existing status of the newborn care corners in labour rooms available in the PHC.

## Slide 10
METHODOLOGY
Study area- District Rampur (7 PHCs)
Study design – The present study was a cross sectional analytical study.
Sample size- A sample of 7 PHCs was taken (4 focus block of UP TSU and 3 non focus block) was purposively achieved.
Sampling technique- Purposive sample of 7 PHC was taken as there were no other facilities which matched the PHC criteria.
Survey instrument- An observation checklist was prepared based on the Indian Public Health Standards (IPHS) guidelines for primary health centres (PHCs)
Data Type- Primary data –facility survey with the help of an observation checklist based on guidelines provided in IPH standards(revised) for primary health centers 2012.

## Slide 11: FINDINGS
Availability of labour room was 100%
Deliveries were carried out in all the 7 PHCs
It was found out that the focus blocks of UP TSU had much better compliance to IPHS standards as compared to the Non Focus blocks(3).
Based on compliance by labour rooms in PHCs , the criteria have been divided into 4 categories –
Low (0-40%)
Medium(41%-74%)
Satisfactory(75% - 99 %)
Outstanding(100 %)

## Slide 12
Chart: Status of IPHS criteria of labour rooms according to % compliance in PHCs
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Legends for Figure 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
% | 1 | 0.8568 | 0.714 | 0.714 | 0.714 | 0.714 | 0.5712 | 0.5712 | 0.5712 | 0.4284 | 0.4284 | 0.4284 | 0.4284 | 0.2854

## Slide 13
 | INDICATORS | %
1 | labour room well-lit and ventilated. | 100%
2 | regular mopping and washing of labour room | 85.68%
3 | separate areas for septic and aseptic deliveries. | 71.40%
4 | separate area for toilet | 71.40%
5 | availability of essential drugs and equipments | 71.40%
6 | provision of STP for common problems during labour and for newborn | 71.40%
7 | separate area for sterilization | 57.12%
8 | fumigation at regular interval | 57.12%
9 | Prescribed dimensions of 3.8*4.2 m | 57.12%
10 | attached toilet and water facilities | 42.84%
11 | usage of separate footwear for labour rrom | 42.84%
12 | separate area for baby wash | 42.84%
13 | separate area for dirty linen | 42.84%
14 | restricted entry in labour room | 28.54%

## Slide 14
Similar categories based on % compliance in PHCs have also been made for criteria of Newborn Care Corner (NBCC) in labour rooms of PHCs.
Chart: Status of IPHS criteria of NBCC in labour rooms according to % compliance in PHCs
| provision of good source of shadow lss light | clear floor area with a functional radiant warmer | provision of oxygen,suction and machine and electrical sockets | resuscitation kit including ambu bag(paediatric size) placed in the radiant warmer | power connection for radiant warmer | 1 | 2 | 3 | 4 | 5
 | 0.5712 | 1 | 1 | 1 | 1

## Slide 15: Good practices

## Slide 17: Practices requiring improvement

## Slide 18: RECOMMENDATIONS
Ensure availability of privacy and restricted entry into labour rooms .
Ensure separate area for dirty linen and for baby wash area.
Separate footwear for labour room should be ensured and updating knowledge of the labour room staff .
Skill building sessions for implementing practices to prevent cross infection.
Ensuring availability and functionality of shadow-less light source in NBCC.
Updating knowledge of labour room staff regarding usage of separate footwear for labour room.
More focus to be put on the non focus block( shahbad and sehzadnagar) through nurse mentoring.

## Slide 19: Limitations of study
Time constraint
Limited sample size
Political and religious issues.

## Slide 20: CONCLUSION
The study was aimed to find out the gaps and assess the labour rooms in the PHCs of 7 blocks of district Rampur (4 focus blocks and 3 non focus blocks). The gaps in the labour rooms with the NBCC were assessed according to a prescribed IPHS criteria. As evident from the findings of the study , not all of the labour rooms of PHCs meet the IPHS norms fully. There are variations in PHCs across the district of Rampur . While deliveries are being reported to be carried out in the labour rooms of all the 7 PHCs included in the study, all the criteria as prescribed in the IPHS guidelines for PHCs (revised) 2012 are not being met in some of the PHCs (mostly non focus blocks).
The condition of NBCC were slightly better than that of the rest of the labour rooms as 4 out of 5 required criteria for NBCC are being fully compiled within all PHCs.
Hence, there is a need to enhance the knowledge of SN and ANM, as well as need to equip the labour room especially with better facilities, which will ultimately improve the quality of care & the outcomes.

## Slide 21
THANKYOU